BIPM GPS calibration information sheet

| Laboratory: |  |  | NAO(Mizusawa) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date and hour of the beginning of measurements: |  |  | # 11/30/1999 (MJD51512) 07:14:00 |  |  |  |
| Date and hour of the end of measurements: |  |  | # 01/03/2000 (MJD51546) 23:18:00 |  |  |  |
| Receiver setup information |  |  |  |  |  |  |
|  | Local: |  |  |  |  | Portable: NML |
|  Maker: | Allen-Osborne |  |  |  |  | Allen-Osborne |
|  Type: | TTR6 |  |  |  |  | TTR6 |
|  Serial number: | 452 |  |  |  |  | 467 |
|  Receiver internal delay (GPS) : |  |  |  |  |  |  |
|  Receiver internal delay (GLO) : |  |  |  |  |  |  |
|  Antenna cable identification: | Labelled IF |  |  |  |  | NML IF |
| Corresponding cable delay : | 250ns(manual delay) |  |  |  |  | 234.5 ns ± 0.5 ns |
|  UTC cable identification: |  |  |  |  |  |  |
| Corresponding cable delay : |  |  |  |  |  |  |
| Delay to local UTC : |  |  |  |  |  |  |
|  Receiver trigger level: |  |  |  |  |  |  |
|  Coordinates reference frame: |  |  |  |  |  |  |
| Latitude: |  |  |  |  |  |  |
| Longitude: |  |  |  |  |  |  |
| Height: |  |  |  |  |  |  |
| Antenna information |  |  |  |  |  |  |
|  | Local: |  |  |  |  | Portable: |
|  Maker: | Allen-Osborne |  |  |  |  | Allen Osborne |
|  Type: | TTR6 |  |  |  |  | TTR6 |
|  Serial number: | 712 |  |  |  |  | 572 |
| ## If the antenna is temperature stabilised |  |  |  |  |  |  |
|  Set temperature value : |  |  |  |  |  |  |
| Antenna cable information |  |  |  |  |  |  |
|  Maker: |  |  |  |  |  |  |
|  Type: |  |  |  |  |  |  |
|  Is it a phase stabilised cable: |  |  |  |  |  |  |
|  Length of cable outside the building : |  |  |  |  |  |  |
| General information |  |  |  |  |  |  |
|  Rise time of the local UTC pulse: |  |  |  |  |  |  |
| #  Is the laboratory air conditioned: |  |  |  |  |  |  |
|  Set temperature value and uncertainty : |  |  |  |  |  |  |
|  Set humidity value and uncertainty : |  |  |  |  |  |  |
| Cable delay control |  |  |  |  |  |  |
| Cable identification |  | delay measured by NML |  |  | delay measured by local method |  |
| NML-IF Antenna cable |  | 234.5 ns ± 0.5 ns |  |  | Not measured |  |

Plot of the experiment set-up: ## Link to the local UTC of both receivers and Antenna positions

Description of the local method of cable delay measurement: